March 5, 2024

WestVillages
Improvement District

PresentationonWVIDIrrigationProgram

4

Exclusive regulated by the Water Management District

A water use permit is water management District allocation of water to a specific user

Water Use Permit

Issue for a specified duration up to 50 years

A water use permit applicant must show that the proposed use:
1. is a reasonable-beneficial use;
	2. will not interfere with any presently existing legal use of water; and
3. is consistent with the public interest

The water use applicant must provide reasonable assurances that the water management district criteria for issuance are met.

A water use permit has a number of general and specific condition. The water allocation amount for use is limited by the permit to specific amounts for specific uses.

	

	

Presenter Notes
2024-03-06 18:23:18
--------------------------------------------
Dave?

Water Use Permit

The Wellen Park

Permit # 20-
003872.003 (the
“WUP”) was originally issued in 1991 to the original developer- Taylor Ranch, Inc.

Fourth Quarter
Properties XXII LLC (“Fourth Quarter”) acquired the project and was updated as the permittee in 2003
	Wells within Gran Paradiso were added to WUP

The Master
Developer acquired the West Villages/Wellen Park project in early 2014

Rights to the
WUP, including the rights to the wells and the water generated therefrom, were assigned to the Master Developer in June 2014

WVID was	Current AGMOD
added as a co-	allocations for permittee as the	the entire irrigation water	Wellen Park user on the WUP	project were in 2018	incorporated
into the WUP in 2018

Well Construction
began in 2005

1991

2003

early
2014

June
2014

2018

2018

Brief History of the Wellen Park Water Use Permit

Presenter Notes
2024-03-06 18:23:19
--------------------------------------------
Dave? 
Any updates needed?

Basics of WUP 20-003872.023

Presenter Notes
2024-03-06 18:23:19
--------------------------------------------
Dave?
Any updates needed?

				

WUP 20-003872.023

Wellen Park Irrigation Allocations

Demands

Current WUP Service Area	Village Component	Permitted Annual Average (gpd)	
PIL 3	Village A (Gran Paradiso)	558,700	

PIL 1	US 41, WV Pkwy, NW Commercial Quadrant (Village A) Village D, E, F, G and Braves Facility, River Rd Office Park, Sarasota School Board, SMH, Renaissance	
1,495,000	
PIL 2	Village H, I, J, K and L	1,336,600	
	Totals	3,390,300	

Demands

Current WUP Service Area	
Village Component	Permitted Peak
Month (gpd)	
PIL 3	Village A (Gran Paradiso)	1,770,700	

PIL 1	US 41, WV Pkwy, NW Commercial Quadrant (Village A) Village D, E, F, G and Braves Facility, River Rd Office Park, Sarasota School Board, SMH, Renaissance	
4,726,300	
PIL 2	Village H, I, J, K and L	4,166,100	
	Totals	10,663,100	

Permitted Sources

Source	Annual Average (gpd)	Pk. Month (gpd)	
Groundwater	2,489,900	6,735,900	
Sarasota Reclaimed Water	250,000	250,000	
Englewood Reclaimed Water	250,000	250,000	
WVID WWTP Reclaimed Water (Max at Buildout)	3,500,000	3,500,000	
Total	6,489,900	10,735,900	

Most Probable Sources

Source	Annual Average (gpd)	Pk. Month (gpd)	
Groundwater	2,489,900	6,735,900	
Sarasota Reclaimed Water	100,000	100,000	
New Englewood Reclaimed Water Proposed
7-10 years	562,500	562,500	
WVID WWTP Reclaimed Water (Max at Buildout)	2,187,500	2,187,500	
Total	5,339,900	9,585,900	

Demand and Supply
An. Avg. Demand = 3.39 MGD
Permitted GW=2.49 MGD
Probable Available Reclaimed= 2.85 MGD
Total Source: 5.34 MGD

Demand and Supply
Pk. Month Demand = 10.66 MGD
Permitted GW = 6.74 MGD
Probable Available Reclaimed = 2.85 MGD
Total Source = 9.59

	

0.95 MGD

	 10.48

Presenter Notes
2024-03-06 18:23:21
--------------------------------------------
Dave?
Any updates needed?

  		

 

      

24

WUP

Conservation Conditions

2. Customers must create and implement a water conservation plan
“Prior to any customer receiving irrigation water from WVID, the customer must apply a water conservation plan that at a minimum addresses the following practices outlines below.”

Presenter Notes
2024-03-06 18:23:21
--------------------------------------------
Dave?
Any updates needed?

Presenter Notes
2024-03-06 18:23:21
--------------------------------------------
Dave?
Any updates needed?

3. Customer compliance with AGMOD allocations

WUP

Conservation Conditions

		

Reclaimed
Water

Groundwater

Stormwater

PIL/LAKE

CONP
Sarasota Co

•

EWD

Wells#
74, 75, 80, 82

Pond / Lake
Storage

PIL/LAKE

49.0% (2022)	22.0% (2022)	29.0 % (2022)	
35.8% (2023)	22.1% (2023)	42.1% (2023)	

Irrigation Supply 2022 (%)
60
50

PIL/LAKE

40
30
20
10
0
RW	GW	SW

Irrigation Supply 2023 (%)
45
40
35
30
25
20
15
10
5
0
RW	GW	SW

CONP
Sarasota Co

•

EWD

Wells#
74, 75, 80, 82

Pond / Lake
Storage

PIL/LAKE

24.3%	33.5%	42.1%

Irrigation Supply (%)
60
50

PIL/LAKE

40
30
20
10
0
RW	GW	SW

39.8 Million Gallons (1 foot storage)

54.8 Million Gallons (1 foot storage)

PIL1 POC
Public Safety Harvest Pump

Islandwalk Outfall

PIL4 Pump

Village I Pump

Questions?