SOUTHWEST WRF

PHASE II EXPANSION

PRELIMINARY

DESIGN REPORT

West Villages Improvement District

Kimley-Horn Background

Kimley-Horn has supported this development since the 2000s, when it was known as Taylor Ranch.

Our team designed, permitted, and constructed most of the WVID water/wastewater infrastructure, including the WTP and WRF.

We also prepare biennial water and wastewater master plans to evaluate system performance and growth.

Existing Wastewater System
The existing wastewater system consists of a gravity system, lift stations and pressurized force mains that go to the SWWRF
All wastewater from Wellen Park is treated at SWWRF

Wastewater System Future Build Out
Planned improvements were identified for 2030 and 2035 to accommodate future growth.
Most improvements consist of infrastructure to the south and along River Road
There were no recommendations to change any of the existing infrastructure

EXISTING SOUTHWEST WRF

•

Constructed in 2020 as a 2.0 MGD AADF WRF
Consists of a Modified Ludzack-Ettinger (MLE) Process
Provisions were made for a Phase II Expansion of 4 MGD AADF
Recommendations for Phase II to be online mid-year 2029

•

•

•

Proposed

	Digester	

Bed Filter

 	

Reject Tank

 	

Proposed Clarifier

Proposed

Generator

SOUTHWEST WRF PHASE II EXPANSION

Proposed

Proposed Deep

Proposed Generator

MLE Basins

Proposed

SWWRF Phase II Preliminary Design Report

Outlines goals and objectives of the expansion

Identifies risks and challenges

Confirms design criteria including confirmation of

Ensures regulatory compliance and permitting challenges

•
•

Process tank and equipment sizing
Site conditions including environmental constraints

Establishes guidelines for stakeholders

Reviews best available technologies

Thank You!

Questions?